## Instructions
Local Law 97
ARTICLE 321 REPORTING
| Mandatory templates for PECMs #4, #7, #8, and #9 |  | version 1.4, issued 9/4/2024
Instructions
1 | Fill out the "Submittal Information" sheet of this workbook first.
2 | Light green cells are for applicant data entry; light gray cells are auto-populated and locked.
3 | Enter "n/a" or leave blank if a particular field does not apply.
4 | Data validation errors (highlighted in red) must be corrected.
5 | Any non-compliances should be explained in the comments section of "Submittal Information".
6 | Submit this workbook to the Department.
NOTE:
Each individual building (BIN) must submit its own template workbook. For multiple buildings on a single lot that share energy service (as defined in 1 RCNY §103-17), a single report may be uploaded to the portal containing separate workbooks for each building in the group.
References
| • Article 321 (§28-321): | https://www.nyc.gov/assets/buildings/apps/pdf_viewer/viewer.html?file=2022GAP_Chapter3_MaintenanceWBwm.pdf&section=conscode_2022#page=41
| • 1 RCNY §103-17: | https://www.nyc.gov/assets/buildings/rules/1_RCNY_103-17.pdf
| • Article 321 Filing Guide: | https://www.nyc.gov/assets/buildings/pdf/321_filing_guide.pdf

## Submittal Information
Report information |  | (please review Instructions tab first)
Date completed:
Building/Lot information
Borough:
Block:
Lot:
# of buildings on lot:
BIN of this building:
(data validation) | good
Street address: |  | (Press Alt+Enter to go to next line)
Zip Code (5 digits):
(data validation) | good
Facility type:
Enter primary heating system type:
Enter secondary heating system type (if applicable):
Comments/notes (e.g. spaces or dwelling units that were not inspected):
(Press Alt+Enter to go to next line)

## 4. Radiator temp. controls
(#4) Radiator temperature controls |  | (please review Instructions tab first)
Method of compliance:
Date of last documented inspection: |  | (must be on or after 11/15/2019)
(data validation) | good
Means of compliance:
Initial Survey information
Total # of radiators (in steam and electric resistance systems) and/or existing controls (in hydronic systems):
Minimum 20% sample size:
How the 20% of radiators/controls to be sampled were selected (up to 3):
Date of initial survey: |  | (must be on or after 11/15/2019)
(data validation) | good
# of radiators/controls surveyed:
Compliant?
# of radiators with missing / malfunctioning temperature controls:
Full survey required?
Full Survey information
Summary of findings. | Date of final full survey:
| (data validation) | good
# of newly installed or repaired temperature controls:
Which heating system(s) the radiators in the building are connected to. | System type 1: |  | (fill in on Submittal Information tab)
System type 2 (if applicable):
Enter data for the one-pipe steam system (leave blank if N/A). | # of one-pipe steam radiators reported to overheat:
(on overheating radiators) # of existing TRVs or insulated radiator enclosures in good working order:
(on overheating radiators) # of newly installed or repaired TRVs or insulated radiator enclosures:
Compliant?
Enter data for the two-pipe steam system (leave blank if N/A). | # of radiators surveyed (100% required):
# of existing TRVs or insulated radiator enclosures in good working order:
# of newly installed or repaired TRVs or insulated radiator enclosures:
Compliant?
Enter data for the hydronic system (leave blank if N/A). | # of existing temperature controls surveyed (100% required):
# of existing temperature controls in good working order:
# of repaired temperature controls:
Compliant?
Enter data for the electric resistance system (leave blank if N/A). | # of dwelling units/spaces served by an electric resistance system surveyed (100% required):
# of existing thermostats in good working order:
# of newly installed or repaired thermostats:
Compliant?

## 7. Indoor-outdoor temp. sensors
(#7) Indoor/outdoor temperature sensors |  | (please review Instructions tab first)
Date of initial survey: |  | (must be on or after 11/15/2019)
(data validation) | good
Date of final survey (if applicable):
(data validation) | good
Enter data for primary heating system. | Primary system type: |  | (fill in on Submittal Information tab)
Method of compliance:
Means of compliance:
If "Inspection/Survey" is chosen as the method of compliance, complete this section. | # of primary heating plants (e.g. boilers):
# of primary heating plants with outdoor reset/setback controls in good working order:
Compliant?
For primary steam systems ONLY:
Total # of spaces or radiators in building: (for Multifamily, this is the # of dwelling units. For HOW, this is the # total spaces or radiators served by the system):
Total # of spaces or radiators with wireless sensors at radiator that are in good working order:
| % of spaces or radiators with wireless sensors at radiator that are in good working order: |  | (must be at least 25%)
Compliant?
Enter data for secondary heating system (if applicable). | Secondary system type:
Method of compliance:
Means of compliance:
If "Inspection/Survey" is chosen as the method of compliance, complete this section. | # of secondary heating plants (e.g. boilers):
# of secondary heating plants with outdoor reset/setback controls in good working order:
Compliant?
For secondary steam systems ONLY:
Total # of spaces or radiators in building: (for Multifamily, this is the # of dwelling units. For HOW, this is the # total spaces or radiators served by the system):
Total # of spaces or radiators with wireless sensors at radiator that are in good working order:
| % of spaces or radiators with wireless sensors at radiator that are in good working order: |  | (must be at least 25%)
Compliant?

## 8. Steam traps - initial
(#8) Steam traps - initial survey |  | (please review Instructions tab first)
Method of compliance:
Date of last documented inspection: |  |  |  |  | (must be on or after 1/1/2022)
(data validation) |  | good
Means of compliance:
Fill out Row 12, then fill out “List of inspected steam traps” below.
|  | Common area | Non-common owner area | Non-common tenant area | Entire building
Enter the results of the initial survey of steam traps (or orifice plates). | # of discrete spaces of this type in the building |  |  |  | 0
| % of spaces required to be surveyed | 100% | 20% | 10% | n/a
| # of spaces required to be surveyed | 0 | 0 | 0 | 0
Survey complete?
| # of steam traps surveyed (100% in spaces required to be surveyed) | 0 | 0 | 0 | 0
| # of missing / malfunctioning steam traps in sample | 0 | 0 | 0 | 0
| % of missing / malfunctioning steam traps in sample |  |  |  |  | (must be no greater than 20%)
Full-building survey (all steam traps) required?
List of inspected steam traps - initial survey
Floor | Room/space description | # of traps of similar condition | Steam trap condition | Space type | Date of initial survey (must be on or after 1/1/2022) | Date of confirmed correction (if applicable)
(insert rows if more are needed; rows
must be inserted in middle of chart)

## 8a. Steam traps - full bldg
(#8a) Steam traps - full building |  |  | (must complete "8. Steam traps - initial" tab first)
Have all steam traps that were not functioning or missing been repaired, replaced, or installed?
|  | Common area | Non-common owner area | Non-common tenant area | Entire building
Summary of full-building steam trap (or orifice plate) survey. | # of discrete spaces of this type in the building | 0 | 0 | 0 | 0
Survey complete?
| # of total steam traps surveyed | 0 | 0 | 0 | 0
| # of steam traps that were not functioning or missing on initial full survey | 0 | 0 | 0 | 0
| # of steam traps that are not functioning or missing on latest survey | 0 | 0 | 0 | 0
List of inspected steam traps - full survey
Floor | Room/space description | # of traps of similar condition | Steam trap condition (inital survey) | Space type | Date of initial survey (must be on or after 1/1/2022) | Date of confirmed correction (if applicable) | Corrective action (latest survey)
(insert rows if more are needed; rows
must be inserted in middle of chart)

## 9. Master steam system venting
(#9) Master steam system venting |  |  |  | (please review Instructions tab first)
Steam system return type:
Is PECM 9 required?
Method of compliance:
Date of last documented inspection: |  |  |  | (must be on or after 11/15/2019)
(data validation) | good
Means of compliance:
Date of initial survey: |  | (must be on or after 11/15/2019)
(data validation) | good
Date of final survey (if applicable):
(data validation)
Initial Survey information
Location of vents | Total # of required vents | # found in good working order | # needing repair / replacement | # of missing vents | # of vents not inspected
At mains | 0
At large horizontal pipe runs | 0
At risers | 0
At vertical pipes branching off a main | 0
Required actions after initial survey
Final Survey information
Location of vents | Corrective action or additional inspection needed? | # of vents to be installed or repaired (from Initial Survey) | Have all vents been inspected? | Corrective action taken | # of vents found to be in good working order
At mains | No | 0
At large horizontal pipe runs | No | 0
At risers | No | 0
At vertical pipes branching off a main | No | 0
Have all vents found to be missing or not functioning been newly installed or repaired?

## Dropdown List (hidden)
Borough | Facility type | Submittal Information |  | Means and Methods of Compliance |  | Basis for radiator sampling | Temperature sensor means and methods of compliance |  | Steam trap condition | Space type | Corrective action | Steam return | Inspected
1 - Manhattan | Multifamily | Electric Resistance | Fill out PECM 4. | Completed utility incentive/rebate program | Upload documention into portal; no need to fill out this worksheet. | Testing | Completed utility incentive/rebate program | Upload documention into portal; no need to fill out this worksheet. | Functioning | Common area | Newly installed / Repaired | Atmospheric (non-vacuum / gravity) | Yes
2 - Bronx | House of Worship (HOW) | Forced Air | No need to fill out templates. | Inspection/survey | Complete this worksheet. | Conversations with the facility manager | Inspection/survey | Complete this worksheet. | Not functioning / missing | Non-common owner area | No action | Vacuum | No
3 - Brooklyn |  | Heat Pump | No need to fill out templates. | LL87 report accepted by the Department | Upload documention into portal; no need to fill out this worksheet. | Occupant reports on over- and under-heated spaces | Screenshot(s) or other output from a digital control system showing that sensors are connected and in good working order and showing sufficient information to identify the covered building | Upload documention into portal; no need to fill out this worksheet. |  | Non-common tenant area
4 - Queens |  | Hydronic | Fill out PECMs 4 and 7. | RCxA confirmed 30°F temp difference between main supply and main return | Upload test results and data logs into portal; no need to fill out this worksheet. | Other
5 - Staten Island |  | One-Pipe Steam | Fill out PECMs 4, 7, and 9.
|  | Other | Describe in Comments section below and fill out applicable PECMs.
|  | Two-Pipe Steam | Fill out PECMs 4, 7, 8, and 9. | Completed utility incentive/rebate program | Upload documention into portal; no need to fill out this worksheet.
|  |  |  | Inspection/survey | Complete this worksheet.
|  |  |  | LL87 report accepted by the Department (for one-pipe steam systems ONLY) | Upload documention into portal; no need to fill out this worksheet.
|  |  |  | Schematic diagram(s) of building steam loops showing vents with date of testing | Upload documention into portal; no need to fill out this worksheet.